# REQUIRED INFORMATION

LIST OF EQUIPMENT & MATERIALS

PROPOSED FOR THIS PROJECT

MANUFACTURER   	CATALOG NUMBER OR

ITEM NO.	DESCRIPTION	OR FABRICATOR(1)   	DRAWING NUMBER(1)

____________________________________________________________________________________

901-93.01	Bridge Lighting	____________________	______________________

901-93.00	Navigation Lighting	____________________ 	______________________

Aviation Lighting	____________________ 	______________________

HIGHWAY LIGHTING:

901-10.XX	Type __ Lighting Pole, __ Ft.(3)					Design _(3) with Bracket Arm	____________________ 	______________________

Transformer Base(6)	____________________ 	______________________

901-13.XX	___ Watt HPS Luminaire	____________________ 	______________________

901-70.XX	Cable, __ AWG, 1c(2)	____________________ 	______________________

901-70.XX	Cable, __ AWG, 1c(2)	____________________ 	______________________

901-71.XX	Cable, 10 AWG, 1c,(2)					Pole and Bracket(2)	____________________	______________________

Fused Slip Connectors	____________________ 	______________________

901-74.XX	Cable - Conduit(2)	____________________ 	______________________

Splice Kit	____________________ 	______________________

901-30.XX	Conduit, _ In.(5)(Pushed or Trenched)____________________	______________________

901-82.XX	Pole Foundation(5)

Screw Anchor(5)	____________________	_____________________

Circular Steel Pile(5)	____________________	_____________________

Steel “H” Pile(5)	____________________	_____________________

(Indicate Anchor Bolt(5) for Concrete Foundations)

901-22.XX	Base Mounted Lighting Control Station, ___ Volt, 4 Circuit

Cabinet	____________________ 	______________________

Main Breaker (Type A)	____________________ 	______________________

Lighting Breakers (Type A)	____________________ 	______________________

Control Breaker(6) 	____________________ 	______________________

Photoelectric Control	____________________ 	______________________

Lightning Arrestor	____________________ 	______________________

Contactor	____________________ 	______________________

901-86.XX	Power Supply Assembly, Type __

Lightning Arrestor	____________________ 	______________________

Meter Socket(6)	____________________ 	______________________

Disconnect Box	____________________ 	______________________

Main Breaker(6)	____________________ 	______________________

901-61.XX	Pull Box, Preformed, Class __	____________________ 	______________________

TRAFFIC SIGNALS:

902-XX.XX	Signal Head, Type __	____________________ 	______________________

Signal Hardware	____________________	______________________

Backplate	____________________	______________________

902-26.50	150W, 120V, HPS Luminaire	____________________ 	______________________

902-31.XX	Post, Type CL, __ Ft. Arm(4)	____________________ 	______________________

902-32.XX	Post, Type C, __ Ft. Arm(4)	____________________ 	______________________

902-33.XX	Post, Type B, __ Ft. Arm(4)	____________________ 	______________________

902-34.XX	Post, Type BL, Longest Arm __ Ft.(4)____________________ 	______________________

902-42.XX	NEMA Controller Assembly

Cabinet and Backpanel Assembly____________________ 	______________________

NEMA Controller	____________________ 	______________________

Conflict Monitor	____________________ 	______________________

Loadswitch	____________________ 	______________________

Flasher	____________________ 	______________________

Flash Transfer Relay	____________________ 	______________________

Surge Protector	____________________ 	______________________

Controller Breaker(6)	____________________ 	______________________

Auxiliary Breaker(6)	____________________ 	______________________

Power Supply for Card	____________________	______________________

Rack Detector

902-43.00	NEMA On-Street System Master	____________________ 	______________________

902-43.30	Dial-Up Modem(6)	____________________ 	______________________

902-41.70	Type 170 Controller Assembly

Cabinet and Rack Assembly	____________________ 	______________________

Type 170 Controller	____________________ 	______________________

Conflict Monitor	____________________ 	______________________

Loadswitch	____________________ 	______________________

Flasher	____________________ 	______________________

Flash Transfer Relay	____________________ 	______________________

Surge Protector	____________________ 	______________________

Isolator	____________________ 	______________________

Power Supply for Card	____________________	______________________

Rack Detector

902-49.XX	Detector, _______________	____________________ 	______________________

902-81.XX	Cable, 10 AWG, 1c,	____________________ 	______________________

Pole and Bracket(2)

902-82.XX	Cable, __ AWG, 1c, Power(2)	____________________ 	______________________

902-83.XX	Cable, 12 AWG, 2c(2)	____________________ 	______________________

902-83.XX	Cable, 12 AWG, 5c(2)	____________________ 	______________________

902-83.XX	Cable, 12 AWG, 7c(2)	____________________ 	______________________

902.83.40	RG-8/U Coaxial Cable	____________________ 	______________________

902-83.XX	Fiber Optic Cable, 	____________________ 	______________________

902-85.XX	Cable, Loop Detector, In-Duct(2)	____________________ 	______________________

Loop Sealant	____________________ 	______________________

Detector Splice Kit	____________________ 	______________________

902-85.XX	Cable, Loop Detector, Lead-In(2)	____________________ 	______________________

902-50.XX	Conduit, _ In.(5)(Pushed or Trenched)____________________	______________________

902-86.XX	Power Supply Assembly, Type __

Lightning Arrestor	____________________ 	______________________

Meter Socket(6)	____________________ 	______________________

Disconnect Box	____________________ 	______________________

Main Breaker(6)	____________________ 	______________________

902-86.XX	Power Supply Assembly Type with 120 V Lighting Control Cabinet

Lightning Arrestor	____________________ 	______________________

Meter Socket(6)	____________________ 	______________________

Disconnect Box	____________________ 	______________________

Main Breaker(6)	____________________ 	______________________

Cabinet	____________________ 	______________________

Photoelectric Control	____________________ 	______________________

Breakers(6)	____________________ 	______________________

Contactor	____________________ 	______________________

902-88.XX	Pull Box, Preformed, Class __	____________________ 	______________________

NOTES:

(1)	Contractor complete.

(2)	Indicate type of insulation on cable items.  Certifications required for approval (see Standard Specifications).

(3)	See Standard Specification Section 1091.1 for preapproval requirements for lighting poles.

(4)	See Standard Specification Section 1092.2 for preapproval requirements for signal poles.

(5)	Certifications required for approval (see Standard Specifications).

(6)	Specification sheets required for approval (shop drawings required for fabricated items).

Instructions for List of Equipment and Materials Document

The List of Equipment and Materials is a fill in the blank list of signal and lighting materials that is filled out by contractors on construction projects and permit projects.  The list is created by MoDOT personnel with specific signal and lighting items on a project.  The completed list should be accompanied with a cover letter (see PDM Figure 4-03.6) and be submitted to the Design Division with final design plans.  The contractor will be responsible for completing the form by listing the products to be used on the project, and returning the list to the appropriate District personnel.  This list should not be used for temporary signals, lighting or other work zone related items that will be removed before the project is completed.

A master equipment and materials list is available that can be used as a template to develop job specific lists.  The following instructions provide a guide for using this master document.

(1)	Open the D-15.DOT document in Word design forms.  Save the file under a different name (File - Save As).  You may want to save the file using a name that is job specific.

(2)	Type in the job number, route and county in the header at the top of page 1 (these will be automatically repeated on subsequent pages).

(3)	Review the signal and lighting pay items for the project against the master list.  Remove any items that are not used on the project.  In general, the single indented items represent pay items and the double indented items are components that are associated with a pay item.  If a single indented item is deleted, then also delete any double indented items directly under it.  If more items of a particular type are needed, then copy and paste lines as needed.  For instance, if more than one size luminaire is needed, then copy the entire line with "___ Watt HPS Luminaire..." and paste another line directly below it.

(4)	Fill in any blanks in the item descriptions to match pay items.  For instance, the line with "Type AT Lighting Pole, __ Ft. Design _(3) with Bracket Arm" might be filled in with "Type AT Lighting Pole, 45 Ft. Design 3 (3) with Bracket Arm".  Some items may require revision to match pay items, for instance, "Post, Type CL, __ Ft. Arm(4)" may be revised to read "Post, Type C, 30 Ft. Arm(4)".  Some items may represent more than one pay item.  Examples are "Type AT Lighting Pole, __ Ft. Design _(3) with Bracket Arm" and "Conduit, _ In.(5) (Pushed or Trenched)".

(5)	Finish the bid item numbers that have an "X" at the end with the appropriate bid item number.  For instance, 901-10.XX would be finished by changing the bid item number to 901-10.64 for a Type AT Lighting Pole, 45 Ft. Design 3 (3) with Bracket Arm.

(6)	Add any items that are not on the master list.  These may be seldom used standard pay items or special pay items.  Make sure that any associated components are listed, double indented below the pay item.  Job special provisions may be used as a guide or assistance can be obtained from District or Support Center Traffic staff on special items.

(7)	Check the formatting of the document to assure that tabs are correct, page breaks are at logical places, to remove any extra spaces, etc.  Count the number of pages and insert the total number after "Page 1 of " in the footer on the bottom of page 1 (this will be automatically repeated on subsequent pages).

An example of a completed equipment and material list is shown below:

REQUIRED INFORMATION

LIST OF EQUIPMENT & MATERIALS

PROPOSED FOR THIS PROJECT

MANUFACTURER   	CATALOG NUMBER OR

ITEM NO.	DESCRIPTION	OR FABRICATOR(1)   	DRAWING NUMBER(1)

____________________________________________________________________________________

HIGHWAY LIGHTING:

901-10.64	Type AT Lighting Pole, 45 Ft. 	____________________ 	______________________

Design 3(3) with Bracket Arm

901-10.60	Type AT Lighting Pole, 45 Ft.					Design 1(3) with Bracket Arm	____________________ 	______________________

Design 1(3), Transformer Base(6)	____________________ 	______________________

901-13.10	250 Watt HPS Luminaire	____________________ 	______________________

901-70.08	Cable, 8 AWG, 1c(2)	____________________ 	______________________

901-70.06	Cable, 6 AWG, 1c(2)	____________________ 	______________________

901-71.10	Cable, 10 AWG, 1c, 					Pole and Bracket(2) 	____________________ 	______________________

Fused Slip Connectors	____________________ 	______________________

901-74.08	Cable - Conduit(2)	____________________ 	______________________

Splice Kit	____________________ 	______________________

901-30.03	Conduit, 3 In.(5) (Trenched)	____________________ 	______________________

901-82.45	Pole Foundation(6)	____________________ 	______________________	(Indicate Anchor Bolt(5) for Concrete Foundations)

901-22.30	Base Mounted Lighting Control Station, 240 Volt, 4 Circuit

Cabinet	____________________ 	______________________

Main Breaker (Type A)	____________________ 	______________________

Lighting Breakers (Type A)	____________________ 	______________________

Control Breaker(6) 	____________________ 	______________________

Photoelectric Control	____________________ 	______________________

Lightning Arrestor	____________________ 	______________________

Contactor	____________________ 	______________________

901-86.13	Power Supply Assembly, Type 2

Lightning Arrestor	____________________ 	______________________

Meter Socket(6)	____________________ 	______________________

Disconnect Box	____________________ 	______________________

Main Breaker(6)	____________________ 	______________________

901-61.10	Pull Box, Preformed, Class 1	____________________ 	______________________

TRAFFIC SIGNALS:

902-02.13	Signal Head, Type 3S	____________________ 	______________________

902-05.13	Signal Head, Type 3B	____________________ 	______________________

902-05.14	Signal Head, Type 4B	____________________ 	______________________

902-05.15	Signal Head, Type 5B	____________________ 	______________________

Signal Hardware	____________________ 	______________________

Backplate	____________________ 	______________________

902-32.24	Post, Type C, 24 Ft. Arm(4)	____________________ 	______________________

902-32.44	Post, Type C, 44 Ft. Arm(4)	____________________ 	______________________

902-33.30	Post, Type B, Longest Arm 30 Ft.(4)	____________________ 	______________________

902-42.81	NEMA Controller Assembly

Cabinet and Backpanel Assembly____________________ 	______________________

NEMA Controller	____________________ 	______________________

Conflict Monitor	____________________ 	______________________

Loadswitch	____________________ 	______________________

Flasher	____________________ 	______________________

Flash Transfer Relay	____________________ 	______________________

Surge Protector	____________________ 	______________________

Controller Breaker(6)	____________________ 	______________________

Auxiliary Breaker(6)	____________________ 	______________________

902-43.00	NEMA On-Street System Master	____________________ 	______________________

902-43.30	Dial-Up Modem(6)	____________________ 	______________________

902-49.44	Detector, Induction Loop					(2 Channel-Rack Mounted) 	____________________ 	______________________

Power Supply						(Card Rack Detectors)	____________________ 	______________________

902-82.08	Cable, 8 AWG, 1c, Power(2)	____________________ 	______________________

902-83.07	Cable, 12 AWG, 7c(2)	____________________ 	______________________

902-85.00	Cable, Loop Detector, In-Duct(2)	____________________ 	______________________

Loop Sealant	____________________ 	______________________

Detector Splice Kit	____________________ 	______________________

902-85.10	Cable, Loop Detector, Lead-In(2)	____________________ 	______________________

902-83.15	Cable, 16 AWG 3-Pair Conductor, 					Interconnect	____________________ 	______________________

902-52.00	Conduit, 2 In.(5) (Trenched)	____________________ 	______________________

902-53.00	Conduit, 3 In.(5) (Trenched)	____________________ 	______________________

902-54.00	Conduit, 4 In.(5) (Trenched)	____________________ 	______________________

902-88.10	Pull Box, Preformed, Class 1	____________________ 	______________________

902-88.11	Pull Box, Preformed, Class 2	____________________ 	______________________

902-88.12	Pull Box, Preformed, Class 3	____________________ 	______________________

NOTES:

(1)	Contractor complete.

(2)	Indicate type of insulation on cable items.  Certifications required for approval (see Standard Specifications).

(3)	See Standard Specification Section 1091.1 for preapproval requirements for lighting poles.

(4)	See Standard Specification Section 1092.2 for preapproval requirements for signal poles.

(5)	Certifications required for approval (see Standard Specifications).

(6)	Specification sheets required for approval (shop drawings required for fabricated items).