SIGN PLACEMENT FOR ADVANCED SIGN WITH FLASHER

FIGURE 902.11, PAGE 1

ADVANCED FLASHER WITH WARNING SIGN OR SPEED LIMIT

FIGURE 902.11, PAGE 2

* IF POWER SOURCE IS THE UTILITY COMPANY, MINIMUM 2" RIGID STEEL CONDUIT

CONTROL PEDESTAL FOR ADVANCED FLASHER

FIGURE 902.11, PAGE 3

ALL WIRING SHALL BE #12 AWG MINIMUM

BREAKER - 15 AMP

WIRING DIAGRAM FOR FLASHER - CONSTANT OPERATION

FIGURE 902.11, PAGE 4

RELAYS - 8 PIN OCTAL BASE WITH MINIMUM 5 AMP CONTACTS

TIME DELAY RELAY - SSAC INC. TUD 120VAC OR EQUIVALENT

ALL WIRING SHALL BE #12 AWG MINIMUM

BREAKER - 15 AMP

WIRING DIAGRAM FOR ADVANCED FLASHER - REMOTE ACTIVATION

FIGURE 902.11, PAGE 5

RELAYS - 8 PIN OCTAL BASE WITH MINIMUM 5 AMP CONTACTS

TIME DELAY RELAY - SSAC INC. TUD 120VAC OR EQUIVALENT

ALL WIRING SHALL BE #12 AWG MINIMUM

BREAKER - 15 AMP

TIME CLOCK SHALL CONFORM TO APPLICABLE STANDARD SPECIFICATIONS AND THE APPROVED PRODUCTS LIST

* SPECIAL EVENT BUTTON SHAL BE MOUNTED 3' TO 5'6" ABOVE GROUND.  THIS MAY REQUIRE A SEPARATE ENCLOSURE

WIRING DIAGRAM FOR ADVANCED FLASHER - TIME CLOCK ACTIVATION

FIGURE 902.11, PAGE 6

RELAYS - 8 PIN OCTAL BASE WITH MINIMUM 5 AMP CONTACTS

TIME DELAY RELAY - SSAC INC. TUD 120VAC OR EQUIVALENT

ALL WIRING SHALL BE #12 AWG MINIMUM (EXCEPT DETECTOR WIRING)

BREAKER - 15 AMP

SEE PROJECT DEVELOPMENT MANUAL, STANDARD SPECS. AND STANDARD PLANS FOR LOOP DETECTOR DESIGN

DETECTOR SHALL CONFORM TO APPLICABLE STANDARD SPECIFICATIONS AND THE APPROVED PRODUCTS LIST

WIRING DIAGRAM FOR ADVANCED FLASHER - DETECTOR ACTIVATION

FIGURE 902.11, PAGE 7

ALL EQUIPMENT INSTALLED IN SIGNAL CONTROLLER CABINET

RELAYS - 8 PIN OCTAL BASE WITH MINIMUM 5 AMP CONTACTS

ALL WIRING SHALL BE #12 AWG MINIMUM

NEMA FLASHER SHALL BE SEPARATE FROM NEMA FLASHER USED FOR SIGNAL FLASH

*	FLASHERS SHALL ONLY OPERATE WHEN SIGNALS ARE OPERATING (NOT FLASHING).  IF PROGRAM FLASH (LOAD SWITCH FLASH) IS USED, DIFFERENT CIRCUITRY WILL NEED TO BE DESIGNED.

WIRING DIAGRAM FOR ADVANCED FLASHER - SIGNAL PHASE ACTIVATION

FIGURE 902.11, PAGE 8

ALL EQUIPMENT INSTALLED IN SIGNAL CONTROLLER CABINET

ALL WIRING SHALL BE #12 AWG MINIMUM

NEMA FLASHER SHALL BE SEPARATE FROM NEMA FLASHER USED FOR SIGNAL FLASH

*	FLASHERS SHALL ONLY OPERATE WHEN SIGNALS ARE OPERATING (NOT FLASHING).  IF PROGRAM FLASH (LOAD SWITCH FLASH) IS USED, DIFFERENT CIRCUITRY WILL NEED TO BE DESIGNED.

WIRING DIAGRAM FOR ADVANCED FLASHER - SIGNALS ON ACTIVATION

FIGURE 902.11, PAGE 9