## Work Order
Missouri Department of Transportation
On-Call Lighting Repair
Job Number:
SM Number:
K Number:
Date Issued:
Job Order
Contractor:
Phone:
Description of Work:
Date Damaged: |  | Direction (N, S, E, W):
Route: |  | County: |  | Mile Marker:
PD Incident Number: |  | GPS Longitude: |  | GPS Latitude:
Reporting Agency |  | MoDOT Locate Number: |  | Dig Rite Number:
Maintenance Sup't:
Restrictions:
Location Description:
Remarks/Comments:
| TOTAL ESTIMATED PRICE FOR THIS WORK ORDER: |  | 0 | TOTAL COMPLETED PRICE THIS WORK ORDER: |  | 0
Issued: | Responsible Person |  |  |  | Time | Date
Notice to Proceed: |  |  | MoDOT
Engr. Notified of Completion: |  |  | Contractor
Inspection/ Acceptance: (Signature) |  |  | MoDOT
Re-Inspection (if needed) |  |  | MoDOT
Traffic Control Items | [6 empty] | Contractor Info
Item | Pay Item Description |  | Unit | MoDOT Estimated Qty | Contract Unit Price | Extended Price | Actual Qty Installed | Extended Price
616-99.02 | Misc. Work Beyond Shoulder |  | Each |  | 120 | 0 |  | 0
616-99.02 | Misc. Shoulder Work - Undivided Roadways |  | Each |  | 190 | 0 |  | 0
616-99.02 | Misc. Right Shoulder Work, High Speed Roadways |  | Each |  | 265 | 0 |  | 0
616-99.02 | Misc. Left Shoulder Work, High Speed Roadways |  | Each |  | 375 | 0 |  | 0
616-99.02 | Misc. 1-Lane, 2-Way Operator w/ Flaggers, |  | Each |  | 650 | 0 |  | 0
616-99.02 | Misc. Single Lane Closure |  | Each |  | 700 | 0 |  | 0
616-99.02 | Misc. Partial Ramp Closure |  | Each |  | 325 | 0 |  | 0
616-99.02 | Misc. Complete Ramp Closure |  | Each |  | 600 | 0 |  | 0
616-99.02 | Misc. Entrance Ramp Area, Main Line Work |  | Each |  | 325 | 0 |  | 0
616-99.02 | Misc. Entrance Ramp Area, Acceleration Lane Work |  | Each |  | 300 | 0 |  | 0
616-99.02 | Misc. Exit Ramp Area, Mainline/Decel Lane Work |  | Each |  | 350 | 0 |  | 0
616-99.02 | Misc. Additional Truck Mounted Attenuator |  | Each |  | 250 | 0 |  | 0
616-99.02 | Misc. Additional Flashing Arrow Panel |  | Each |  | 95 | 0 |  | 0
616-99.02 | Misc. Additional Directional Indicator Barricade |  | Each |  | 11 | 0 |  | 0
616-99.02 | Misc. Additional Channelizer (Trimline/Drum) |  | Each |  | 8 | 0 |  | 0
616-99.02 | Misc. Additional Changeable Message sign |  | Each |  | 500 | 0 |  | 0
616-99.02 | Misc. Additional Advanced Warning Rail System |  | Each |  | 12 | 0 |  | 0
616-99.02 | Misc. Additional Flag Assembly |  | Each |  | 5 | 0 |  | 0
616-99.02 | Misc. Sequential Flashing Warning Light |  | Each |  | 50 | 0 |  | 0
616-99.02 | Misc. Additional Traffic Control Signs |  | SQ Feet |  | 4 | 0 |  | 0
616-99.02 | MISC. ACCELERATED REPAIR |  | Each |  | 2400 | 0 |  | 0
616-99.02 | MISC. TROUBLE SHOOTING/ INVESTIGATION WORK |  | Each |  | 1500 | 0 |  | 0
[5 empty] | Traffic Control Subtotal | 0 |  | 0
New Lighting Installation
Item | Pay Item Description |  | Unit | MoDOT Estimated Qty | Contract Unit Price | Extended Price | Actual Qty Installed | Extended Price
9011030 | LIGHTING POLE, 30 FT. OR 9.0 M, TYPE AT |  | EA |  | 1460 | 0 |  | 0
9011040 | LIGHTING POLE, 30 FT. OR 9.0 M TYPE B |  | EA |  | 1185 | 0 |  | 0
9011060 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 1 |  | EA |  | 2225 | 0 |  | 0
9011062 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 2 |  | EA |  | 2130 | 0 |  | 0
9011064 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 3 |  | EA |  | 1990 | 0 |  | 0
9011066 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 4 |  | EA |  | 1829 | 0 |  | 0
9011068 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 5 |  | EA |  | 1790 | 0 |  | 0
9011070 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE B DESIGN 3 |  | EA |  | 1395 | 0 |  | 0
9011072 | LIGHTING POLE, 45 FT. OR 13.5 M, TYPE MB DESIGN 3 |  | EA |  | 1420 | 0 |  | 0
9011104 | BRACKET ARM, 4 FT. OR 1.2 M |  | EA |  | 221 | 0 |  | 0
9011106 | BRACKET ARM, 6 FT. OR 1.8 M |  | EA |  | 231 | 0 |  | 0
9011108 | BRACKET ARM, 8 FT. OR 2.4 M |  | EA |  | 251 | 0 |  | 0
9011110 | BARCKET ARM, 10 FT. OR 3.0 M |  | EA |  | 516 | 0 |  | 0
9011112 | BRACKET ARM, 12 FT. OR 3.6 M |  | EA |  | 536 | 0 |  | 0
9011115 | BRACKET ARM, 15 FT. OR 4.6 M |  | EA |  | 556 | 0 |  | 0
9011250 | LUMINAIRE, 150 WATT HIGH PRESSURE SODIUM (UNDERPASS) |  | EA |  | 360 | 0 |  | 0
9011300 | LUMINAIRE, 150 WATT HIGH PRESSURE SODIUM |  | EA |  | 234 | 0 |  | 0
9011310 | LUMINAIRE, 250 WATT HIGH PRESSURE SODIUM |  | EA |  | 232 | 0 |  | 0
9011320 | LUMINAIRE, 400 WATT HIGH PRESSURE SODIUM |  | EA |  | 260 | 0 |  | 0
9011330 | LUMINAIRE, 1000 WATT HIGH PRESSURE SODIUM HIGH MAST |  | EA |  | 1098 | 0 |  | 0
9012330 | SERVICE POLE, 30 FT. OR 9.0 M, CLASS 4 |  | EA |  | 1033 | 0 |  | 0
9013002 | CONDUIT, 2 IN. RIGID, IN TRENCH |  | LF |  | 12.5 | 0 |  | 0
9013003 | CONDUIT, 3 IN. RIGID, IN TRENCH |  | LF |  | 14 | 0 |  | 0
9013004 | CONDUIT, 4 IN. RIGID, IN TRENCH |  | LF |  | 17 | 0 |  | 0
9013502 | CONDUIT, 2 IN., RIGID, MEDIAN |  | LF |  | 12.5 | 0 |  | 0
9013503 | CONDUIT, 3 IN. RIGID, MEDIAN |  | LF |  | 14 | 0 |  | 0
9014003 | CONDUIT, 3 IN. RIGID, PUSHED |  | LF |  | 23 | 0 |  | 0
9014004 | CONDUIT, 4 IN. RIGID, PUSHED |  | LF |  | 25.5 | 0 |  | 0
9015010 | TRENCHING TYPE I |  | LF |  | 4 | 0 |  | 0
9015020 | TRENCHING TYPE II |  | LF |  | 35 | 0 |  | 0
9015030 | TRENCHING TYPE III |  | LF |  | 52 | 0 |  | 0
9016110 | PULL BOX, PREFORMED CLASS 1 |  | EA |  | 930 | 0 |  | 0
9016111 | PULL BOX, PREFORMED CLASS 2 |  | EA |  | 1250 | 0 |  | 0
9016112 | PULL BOX, PREFORMED CLASS 3 |  | EA |  | 1785 | 0 |  | 0
9016120 | PULL BOX, CONCRETE, STANDARD |  | EA |  | 1962 | 0 |  | 0
9016121 | PULL BOX, CONCRETE, DOUBLE, TYPE A |  | EA |  | 2680 | 0 |  | 0
9016124 | PULL BOX, CONCRETE, DOUBLE, TYPE B |  | EA |  | 2680 | 0 |  | 0
9017000 | CABLE, 0 AWG 1 CONDUCTOR |  | LF |  | 3.5 | 0 |  | 0
9017001 | CABLE, 1 AWG 1 CONDUCTOR |  | LF |  | 3 | 0 |  | 0
9017002 | CABLE, 2 AWG 1 CONDUCTOR |  | LF |  | 2.75 | 0 |  | 0
9017003 | CABLE, 3 AWG 1 CONDUCTOR |  | LF |  | 2.5 | 0 |  | 0
9017004 | CABLE, 4 AWG 1 CONDUCTOR |  | LF |  | 2.35 | 0 |  | 0
9017006 | CABLE, 6 AWG 1 CONDUCTOR |  | LF |  | 2 | 0 |  | 0
9017008 | CABLE, 8 AWG 1 CONDUCTOR |  | LF |  | 1.75 | 0 |  | 0
9017110 | CABLE, 10 AWG 1 CONDUCTOR, POLE AND BRACKET |  | LF |  | 1.25 | 0 |  | 0
9017200 | WIRE, 0 AWG, BARE NEUTRAL |  | LF |  | 3 | 0 |  | 0
9017201 | WIRE, 1 AWG, BARE NEUTRAL |  | LF |  | 2.8 | 0 |  | 0
9017202 | WIRE, 2 AWG, BARE NUETRAL |  | LF |  | 2.5 | 0 |  | 0
9017203 | WIRE, 3 AWG, BARE NUETRAL |  | LF |  | 2.4 | 0 |  | 0
9017204 | WIRE, 4 AWG, BARE NUETRAL |  | LF |  | 2.1 | 0 |  | 0
9017206 | WIRE, 6 AWG, BARE NUETRAL |  | LF |  | 1.8 | 0 |  | 0
9017208 | WIRE, 8 AWG, BARE NUETRAL |  | LF |  | 1.7 | 0 |  | 0
9017401 | CABLE-CONDUIT, 1 IN., 2 CONDUCTORS AND 1 BARE NEUTRAL, 2 AWG |  | LF |  | 4.4 | 0 |  | 0
9017402 | CABLE-CONDUIT, 1 IN., 2 CONDUCTORS AND 1 BARE NEUTRAL, 4 AWG |  | LF |  | 3.3 | 0 |  | 0
9017403 | CABLE-CONDUIT, 1 IN., 3 CONDUCTORS AND 1 BARE NEUTRAL, 4 AWG |  | LF |  | 4.5 | 0 |  | 0
9017404 | CABLE-CONDUIT, 1 IN., 2 CONDUCTORS AND 1 BARE NEUTRAL, 6 AWG |  | LF |  | 2.5 | 0 |  | 0
9017405 | CABLE-CONDUIT, 1 IN., 3 CONDUCTORS AND 1 BARE NEUTRAL, 6 AWG |  | LF |  | 3.25 | 0 |  | 0
9017407 | CABLE-CONDUIT, 1 IN., 2 CONDUCTORS AND 1 BARE NEUTRAL, 8 AWG |  | LF |  | 2.25 | 0 |  | 0
9017408 | CABLE-CONDUIT, 1 IN., 3 CONDUCTORS AND 1 BARE NEUTRAL, 8 AWG |  | LF |  | 3 | 0 |  | 0
9017411 | CABLE-CONDUIT, 1 ¼ IN., 3 CONDUCTORS AND 1 BARENEUTRAL, 2 AWG |  | LF |  | 5.75 | 0 |  | 0
9018230 | POLE FOUNDATION (30 FT. OR 9 M MOUNTING HEIGHT) |  | EA |  | 838.75 | 0 |  | 0
9018245 | POLE FOUNDATION (45 FT. OR 13.5 M MOUNTING HEIGHT) |  | EA |  | 1010 | 0 |  | 0
[5 empty] | New Lighting Installation Subtotal | 0 |  | 0
Remove & Replace Items
Item | Pay Item Description |  | Unit | MoDOT Estimated Qty | Contract Unit Price | Extended Price | Actual Qty Installed | Extended Price
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 30 FT. OR 9.0 M, TYPE AT |  | EA |  | 1545 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 30 FT. OR 9.0 M TYPE B |  | EA |  | 1295 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 1 |  | EA |  | 2365 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 2 |  | EA |  | 2260 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 3 |  | EA |  | 2120 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 4 |  | EA |  | 1940 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE AT DESIGN 5 |  | EA |  | 1900.25 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE B DESIGN 3 |  | EA |  | 1505.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LIGHTING POLE, 45 FT. OR 13.5 M, TYPE MB DESIGN 3 |  | EA |  | 1505.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BRACKET ARM, 4 FT. OR 1.2 M |  | EA |  | 271.25 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BRACKET ARM, 6 FT. OR 1.8 M |  | EA |  | 281.25 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BRACKET ARM, 8 FT. OR 2.4 M |  | EA |  | 301.25 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BARCKET ARM, 10 FT. OR 3.0 M |  | EA |  | 591.7 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BRACKET ARM, 12 FT. OR 3.6 M |  | EA |  | 611.7 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BRACKET ARM, 15 FT. OR 4.6 M |  | EA |  | 657 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LUMINAIRE, 150 WATT HIGH PRESSURE SODIUM (UNDERPASS) |  | EA |  | 552.2 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LUMINAIRE, 150 WATT HIGH PRESSURE SODIUM |  | EA |  | 280.8 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LUMINAIRE, 250 WATT HIGH PRESSURE SODIUM |  | EA |  | 279.1 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LUMINAIRE, 400 WATT HIGH PRESSURE SODIUM |  | EA |  | 304.25 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE LUMINAIRE, 1000 WATT HIGH PRESSURE SODIUM HIGH MAST |  | EA |  | 1098 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BULB, 150 WATT HIGH PRESSURE SODIUM |  | EA |  | 55 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BULB, 250 WATT HIGH PRESSURE SODIUM |  | EA |  | 58.3 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BULB, 400 WATT HIGH PRESSURE SODIUM |  | EA |  | 58.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BULB, 1000 WATT HIGH PRESSURE SODIUM HIGH MAST |  | EA |  | 110.75 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BASE MOUNTED CONTROL STATION 240 VOLT – 4 CIRCUIT |  | EA |  | 3960 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE BASE MOUNTED CONTROL STATION 480 VOLT – 4 CIRCUIT |  | EA |  | 5058 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE SERVICE POLE, 30 FT. OR 9.0 M, CLASS 4 |  | EA |  | 1436.75 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 0 AWG 1 CONDUCTOR |  | LF |  | 3.1 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 1 AWG 1 CONDUCTOR |  | LF |  | 2.9 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 2 AWG 1 CONDUCTOR |  | LF |  | 2.7 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 3 AWG 1 CONDUCTOR |  | LF |  | 2.4 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 4 AWG 1 CONDUCTOR |  | LF |  | 2.3 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 6 AWG 1 CONDUCTOR |  | LF |  | 2.2 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 8 AWG 1 CONDUCTOR |  | LF |  | 2 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE CABLE, 10 AWG 1 CONDUCTOR, POLE AND BRACKET |  | LF |  | 1.9 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 0 AWG, BARE NEUTRAL |  | LF |  | 2.9 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 1 AWG, BARE NEUTRAL |  | LF |  | 2.8 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 2 AWG, BARE NUETRAL |  | LF |  | 2.5 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 3 AWG, BARE NUETRAL |  | LF |  | 3.2 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 4 AWG, BARE NUETRAL |  | LF |  | 2.3 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 6 AWG, BARE NUETRAL |  | LF |  | 2 | 0 |  | 0
9019903 | MISC. REMOVE & REPLACE WIRE, 8 AWG, BARE NUETRAL |  | LF |  | 1.9 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POLE FOUNDATION (30 FT. OR 9 M MOUNTING HEIGHT) |  | EA |  | 1270 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POLE FOUNDATION (45 FT. OR 13.5 M MOUNTING HEIGHT) |  | EA |  | 1490 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 1, 240/120 VOLT SERVICE, LIGHTING ONLY |  | EA |  | 3937.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 1, 240/120 VOLT SERVICE, LIGHTING AND SIGNALS |  | EA |  | 4341.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 2, 240/120 VOLT SERVICE, LIGHTING ONLY |  | EA |  | 5422.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 2, 240/120 VOLT SERVICE, LIGHTING AND SIGNALS |  | EA |  | 5422.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 1, 480 VOLT SERVICE, LIGHTING ONLY |  | EA |  | 5698.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 1, 480 & 240/120 VOLT SERVICE, LIGHTING AND SIGNALS |  | EA |  | 6802.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 2, 480 VOLT SERVICE, LIGHTING ONLY |  | EA |  | 8579.5 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE POWER SUPPLY ASSEMBLY, TYPE 2, 480 & 240/120 VOLT SERVICE, LIGHTING AND SIGNALS |  | EA |  | 10963 | 0 |  | 0
9019902 | MISC. REMOVE & REPLACE THEFT PROOF DOOR |  | EA |  | 150.5 | 0 |  | 0
[5 empty] | Remove & Replace Items Subtotal | 0 |  | 0
[5 empty] | Job Order Subtotal | 0 |  | 0 | Enter into SM in the Quantity Field FOR THE CORRECT LINE (DAY/NIGHT/WEEKEND)
|  | Adjustment Factors |  | Job Order Subtotal | Factor | Est. Adjusted Subtotal | Entry | Installed Adjusted
|  | Misc. Normal Work Adjustment Factor |  |  |  | 0 |  | 0
|  | Misc. Nighttime Work Adjustment Factor |  |  |  | 0 |  | 0
|  | Misc. Weekend Work Adjustment Factor |  |  |  | 0 |  | 0
[5 empty] | Adjusted Subtotal | 0 |  | 0 | Use to Check Estimate
Contingent Items
Item | Pay Item Description |  | Unit | MoDOT Estimated Qty | Unit Price | Extended Price | Actual Qty Installed | Extended Price
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[5 empty] | Contingent Items Subtotal | 0 |  | 0 | Enter as Contingent Item
Liquidated Damages
| Delay in Beginning Work |  | Day |  | 1000 | 0 |  | 0
| Delay in Completing Work |  | Day |  | 1000 | 0 |  | 0
|  | Lane Closures per 15 Minutes | 15min |  | 1000 | 0 |  | 0
|  | Delay in Beginning Accelerated Work | Hour |  | 250 | 0 |  | 0
|  | Delay in Completeing Accelerated Work | Hour |  | 250 | 0 |  | 0
[5 empty] | Liquidated Damages Subtotal | 0 |  | 0 | Enter as Liquidated Damages Adjustment
|  |  |  | Total Job Price |  | 0 |  | 0 | Use to Check Estimate